## Method
Method:
Discrete samples of pH and total alkalinity (TA) were, with a few exceptions, collected using handheld Niskin bottles (1.7, 5 or 10 L) from a small boat.
The pH/TA samples were transferred into rinsed 250 mL borosilicate bottles using silicone tubing, and were filled from the bottom according to standard procedure.
The samples were generally analysed on the same day or the day after, with a few exceptions that can be found in the Data overview sheet.
pH was determined on the total scale using a diode-array spectrophotometer and the unpurified indicator dye m-cresol purple (mCP) following the method of Clayton and Byrne (1993). The precision was typically about ±0.001.
The perturbation of the sample pH due to the addition of the indicator dye was corrected for according to Chierici et al. (1999).
The laboratory took part in a CO2 inter-laboratory comparison arranged by the laboratory of A. Dickson (Scripps Institution of Oceanography, USA) in May 2017.
Both batches of mCp used in this study were tested on this occasion. In average, the measured pH was 0.005 ± 0.001 higher than the certified pH value of the CO2 inter-laboratory comparison samples, i.e. for ambient pCO2 conditions.
pH at in situ temperature was calculated using a pressure of 0 dbar together with salinity, laboratory temperature, the measured pH, and TA as inputs in the chemical speciation software CO2SYS (van Heuven et al., 2011),
with the in situ temperature and pressure setting the output conditions.
The CO2-system stoichiometric dissociation constants (K1* and K2*) of Mehrbach et al. (1973), as refit by Dickson and Millero (1987), were used in the calculation,
together with the dissociation constant of bisulphate of Dickson (1990) and total borate according to Lee et al. (2010).
Total alkalinity was determined using a non-purged open cell potentiometric titration (Metrohm© Titrando system, Switzerland).
The titration data were evaluated using two methods. The preferred method, referred to as TA in the DATA sheet, used a non-linear least square optimization (DOE, 1994), with a precision about ±2 µmol kg-1.
Although this method assumes no air-sample gas exchange, the impact this has on the calculation is small and negligible when the samples are calibrated, i.e. a one-point calibration, using Certified Reference Materials
(CRM, from A. Dickson, Scripps Institution of Oceanography, USA). The CRM TA values have a standard deviation < 1 µmol kg-1 and the accuracy of the TA measurements should therefore be the same order as the precision.
The second method, referred to as EP TA in the data sheet, used an optimized end-point determination (Metrohm© tiamoTM - titration software, Switzerland), with a precision of roughly ± 4 µmol kg-1.
The accuracy of these measurements was also set by the use of CRM.
In the CO2 inter-laboratory comparison, the measured TA and EP TA from the UNIS laboratory were both less than 1 µmol kg-1 from the certified TA of the CO2 Inter-laboratory comparison samples.

## Data overview
Data Overview |  |  | Uncertainties
Dates | CTD | TA/pH | Parameters | Precision/Resolution | Accuracy
2015-03-19 | SD204 | Yes | TA [µmol kg-1] | ±2(±4)a | ±2(±4)
2015-04-08 | SD 204 | Yes | pH | ±0.001a | ±0.005
2015-04-22 | SBE19+a | Yesg | T [°C]b | 0.1 | ±0.3
2015-04-29 | SD204 | Yes | T [°C]c | 0.0011, 0.00012,4, 0.00023 | ±0.011, ±0.0052, ±0.0013, ±0.0024
2015-05-02 | SBE9 | Yes | Sc | 0.011 | ±0.021(±0.11)
2015-06-24 | SD204 | Yes | Cc [mS/cm] | 0.00052, 0.00043, 0.00014 | ±0.0052, ±0.0033,4
2015-07-03 | SD204 | Yes
2015-07-29 | SBE37 | Yes | Note. a) These values are the experimental precision reported as the mean absolute difference between duplicate sample runs, with the value for the end-point determination in brackets.
2015-08-29 | SBE9 | Yesh | b) The laboratory temperature during the pH determination was measured using a digital probe(TFX410, technical data in the table), except for March to July 2015, and July and August, 2016, when a flow-through thermistor was used.
2015-09-15 | SD204 | Yes | c) Temperature, salinity and conductivity (C) were obtained from the following CTD-devices:
2015-10-07 | SD204 | Yes |  | 1) SD204, SAIV A/S, Norway (the value in brackets represents an offset that was corrected for as noted in Data Overview),
2015-10-27 | SBE37 | Yes |  | 2) SBE 19+, Seabird Electronics, USA, 3) SBE 9, Seabird Electronics, USA, and 4) SBE 37 MicroCAT, Seabird Electronics, USA.
2015-11-23 | SBE37 | Yes |  | 3) SBE 9, Seabird Electronics, USA, and 4) SBE 37 MicroCAT, Seabird Electronics, USA.
2015-12-02 | SBE37 | Yes
2015-12-09 | SBE37b | Yes
2016-01-29 | SBE37 | Yes
2016-02-19 | SBE19+ | Yes
2016-03-04 | SBE19+ | Yes
2016-03-21 | SBE19+ | Yes
2016-03-29 | SBE19+ | Yes
2016-04-19 | SBE19+ | Yes
2016-04-28 | SD204c | Yes
2016-05-02 | SBE19+ | Yes
2016-05-13 | SBE19+ | Yes
2016-06-01 | SBE19+ | Yes
2016-06-20 | SBE19+ | Yes
2016-07-04 | SBE19+ | Yes
2016-08-01 | SBE19+ | Yes
2016-09-13 | SBE9 | Yesg
2016-09-20 | SD204d | Yes
2016-10-11 | SBE19+ | Yes
2016-11-01 | SBE19+ | Yes
2016-12-16 | SBE19+ | Yes
2017-02-24 | SD204e | Yes
2017-03-21 | SD204e | Yes
2017-04-03 | SD204e | Yes
2017-05-04 | SBE19+ | Yes
2017-06-09 | SBE19+ | Yes
2017-06-23 | SBE19+ | Yes
2017-07-20 | SBE19+ | Yes
2017-08-01 | SBE19+ | Yes
2017-08-31 | SBE19+ | Yes
2017-10-02 | SBE9 | Yes
2017-11-07 | SD204f | Yes
Note. a) Measurements were conducted 17 April 2015. The maximum pressure measurement was from 69 dbar and salinity and temperature are from this depth.
b) Measurements were conducted 10 December 2015.
c) Salinity corrected for an offset of -0.10.
d) Noise in pressure measurements i.e. pressure was modelled, salinity recalculated for the new pressure, and finally, salinity was corrected for an offset of -0.13.
e) Salinity corrected for an offset of -0.14.
f) Salinity was measured with a Portasal 8410A salinometer and calibrated against IAPSO standard seawater, OSIL Environmental Instruments and Systems. Temperature was obtained from a SD204 with measurements conducted 24 October 2017, only measurements down to 65 dbar.
g) Analyzed two days after sampling.
h) Fixated with HgCl2 and analyzed within 6 weeks.

## Data
Year | Month | Day | Latitude [°] | Longitude [°] | Bot. Depth [m] | Station | CTD Pressure [dbar] | Temperature [ITS-90, deg C] | Salinity [PSU] | TA [µmol/kg] | pHT in situ | EP TA [µmol/kg] | pHT in situ (temperature correction using EP TA)
2015 | 3 | 19 | 78.267 | 15.533 | 97 | 993 | 1.95 | -1.471 | 34.4 | 2271.8 | 8.123 | 2278.1 | 8.123
2015 | 3 | 19 | 78.267 | 15.533 | 97 | 993 | 9.85 | -1.454 | 34.39 | NaN | NaN | 2278.2 | 8.122
2015 | 3 | 19 | 78.267 | 15.533 | 97 | 993 | 25.05 | -1.336 | 34.34 | NaN | NaN | 2251.5 | 8.118
2015 | 3 | 19 | 78.267 | 15.533 | 97 | 993 | 60.11 | -0.088 | 34.58 | 2278.9 | 8.112 | 2265.4 | 8.112
2015 | 4 | 8 | 78.267 | 15.533 | 97 | 993 | 2.37 | -1.019 | 34.53 | 2279.9 | 8.115 | 2284.4 | 8.115
2015 | 4 | 8 | 78.267 | 15.533 | 97 | 993 | 5.37 | -1.01 | 34.54 | 2283.3 | 8.116 | 2285.3 | 8.116
2015 | 4 | 8 | 78.267 | 15.533 | 97 | 993 | 10.44 | -0.999 | 34.51 | 2280.1 | 8.114 | 2283.4 | 8.114
2015 | 4 | 8 | 78.267 | 15.533 | 97 | 993 | 15.34 | -0.986 | 34.51 | 2282.4 | 8.116 | 2286.2 | 8.116
2015 | 4 | 8 | 78.267 | 15.533 | 97 | 993 | 24.98 | -0.973 | 34.52 | 2284.4 | 8.112 | 2286.1 | 8.112
2015 | 4 | 8 | 78.267 | 15.533 | 97 | 993 | 50.25 | -0.956 | 34.55 | 2281.8 | 8.111 | 2283.2 | 8.111
2015 | 4 | 8 | 78.267 | 15.533 | 97 | 993 | 59.58 | -0.979 | 34.51 | 2285.2 | 8.112 | 2289.6 | 8.112
2015 | 4 | 8 | 78.267 | 15.533 | 97 | 993 | 89.61 | -0.956 | 34.59 | 2285.3 | 8.107 | 2288.5 | 8.107
2015 | 4 | 22 | 78.267 | 15.533 | 94 | 993 | 2 | -0.8738 | 34.067 | 2267.5 | 8.217 | 2270.4 | 8.217
2015 | 4 | 22 | 78.267 | 15.533 | 94 | 993 | 5 | -0.8731 | 34.068 | NaN | NaN | 2271.1 | 8.215
2015 | 4 | 22 | 78.267 | 15.533 | 94 | 993 | 10 | -0.8692 | 34.07 | NaN | NaN | 2264.5 | 8.205
2015 | 4 | 22 | 78.267 | 15.533 | 94 | 993 | 15 | -0.8572 | 34.073 | NaN | NaN | 2271.5 | 8.207
2015 | 4 | 22 | 78.267 | 15.533 | 94 | 993 | 25 | -0.6927 | 34.17 | 2278.7 | 8.151 | 2278.2 | 8.151
2015 | 4 | 22 | 78.267 | 15.533 | 94 | 993 | 50 | -0.6576 | 34.191 | 2280.1 | 8.134 | 2286 | 8.134
2015 | 4 | 22 | 78.267 | 15.533 | 94 | 993 | 60 | -0.6403 | 34.219 | 2283.3 | 8.125 | 2281.5 | 8.125
2015 | 4 | 22 | 78.267 | 15.533 | 94 | 993 | 90 | -0.5604 | 34.347 | 2285 | 8.11 | 2285.7 | 8.11
2015 | 4 | 29 | 78.267 | 15.533 | 90 | 993 | 2.02 | -0.937 | 34.14 | 2271.3 | 8.298 | 2277.2 | 8.299
2015 | 4 | 29 | 78.267 | 15.533 | 90 | 993 | 5.05 | -0.868 | 34.17 | 2273.6 | 8.282 | 2279.9 | 8.282
2015 | 4 | 29 | 78.267 | 15.533 | 90 | 993 | 10.35 | -0.634 | 34.27 | 2274 | 8.262 | 2280.9 | 8.262
2015 | 4 | 29 | 78.267 | 15.533 | 90 | 993 | 15.23 | -0.631 | 34.22 | 2276.3 | 8.254 | 2279.7 | 8.254
2015 | 4 | 29 | 78.267 | 15.533 | 90 | 993 | 25.28 | -0.598 | 34.27 | 2276.8 | 8.25 | 2287.3 | 8.25
2015 | 4 | 29 | 78.267 | 15.533 | 90 | 993 | 50.06 | -0.406 | 34.35 | 2281.3 | 8.238 | 2289.6 | 8.238
2015 | 4 | 29 | 78.267 | 15.533 | 90 | 993 | 60 | -0.362 | 34.4 | 2283.6 | 8.233 | 2287.8 | 8.233
2015 | 4 | 29 | 78.267 | 15.533 | 90 | 993 | 85.16 | 0.325 | 34.59 | 2287.2 | 8.162 | 2297.7 | 8.163
2015 | 5 | 2 | 78.258 | 15.525 | 72 | 993 | 62.97 | 0.7022 | 34.581 | 2285.2 | 8.145 | 2288.9 | 8.145
2015 | 5 | 2 | 78.258 | 15.525 | 72 | 993 | 50.4175 | 0.2953 | 34.503 | 2282.3 | 8.165 | 2286.2 | 8.165
2015 | 5 | 2 | 78.258 | 15.525 | 72 | 993 | 24.3789 | -0.6213 | 34.315 | 2277.5 | 8.265 | 2285.9 | 8.265
2015 | 5 | 2 | 78.258 | 15.525 | 72 | 993 | 9.8044 | -0.7452 | 34.296 | 2275.9 | 8.295 | 2280.7 | 8.295
2015 | 5 | 2 | 78.258 | 15.525 | 72 | 993 | 2.8864 | -0.7486 | 34.295 | 2276.1 | 8.299 | 2281.1 | 8.299
2015 | 6 | 24 | 78.267 | 15.533 | 95 | 993 | 1.92 | 6.06 | 31.44 | NaN | NaN | 2098.7 | 8.249
2015 | 6 | 24 | 78.267 | 15.533 | 95 | 993 | 5.1 | 6.078 | 31.49 | 2101 | 8.245 | 2094.7 | 8.245
2015 | 6 | 24 | 78.267 | 15.533 | 95 | 993 | 9.69 | 5.149 | 32.66 | 2162.4 | 8.244 | 2154.3 | 8.244
2015 | 6 | 24 | 78.267 | 15.533 | 95 | 993 | 15.21 | 4.827 | 33.7 | 2223.7 | 8.235 | 2224.4 | 8.235
2015 | 6 | 24 | 78.267 | 15.533 | 95 | 993 | 25.26 | 3.04 | 33.94 | 2249.4 | 8.262 | 2244 | 8.262
2015 | 6 | 24 | 78.267 | 15.533 | 95 | 993 | 49.68 | 1.299 | 34.26 | 2265.4 | 8.271 | 2264.5 | 8.271
2015 | 6 | 24 | 78.267 | 15.533 | 95 | 993 | 60.09 | 0.61 | 34.3 | 2273.4 | 8.257 | 2267.9 | 8.257
2015 | 6 | 24 | 78.267 | 15.533 | 95 | 993 | 85.54 | -0.071 | 34.46 | 2283.3 | 8.214 | 2277.4 | 8.214
2015 | 7 | 3 | 78.267 | 15.533 | 96 | 993 | 2.11 | 5.896 | 32.55 | NaN | NaN | 2188.4 | 8.205
2015 | 7 | 3 | 78.267 | 15.533 | 96 | 993 | 5.33 | 5.577 | 33.15 | NaN | NaN | 2205.3 | 8.22
2015 | 7 | 3 | 78.267 | 15.533 | 96 | 993 | 10.06 | 5.166 | 33.53 | 2224.5 | 8.238 | 2232.1 | 8.238
2015 | 7 | 3 | 78.267 | 15.533 | 96 | 993 | 15.31 | 4.753 | 33.61 | NaN | NaN | 2239.5 | 8.244
2015 | 7 | 3 | 78.267 | 15.533 | 96 | 993 | 25 | 3.249 | 33.94 | 2248.1 | 8.26 | 2259.3 | 8.26
2015 | 7 | 3 | 78.267 | 15.533 | 96 | 993 | 49.86 | 0.591 | 34.28 | 2276.3 | 8.233 | 2274.1 | 8.233
2015 | 7 | 3 | 78.267 | 15.533 | 96 | 993 | 59.86 | 0.152 | 34.37 | 2280.4 | 8.223 | 2284.9 | 8.223
2015 | 7 | 3 | 78.267 | 15.533 | 96 | 993 | 84.59 | -0.124 | 34.49 | 2279.3 | 8.19 | 2286.6 | 8.19
2015 | 7 | 29 | 78.267 | 15.533 | 95 | 993 | 2.199 | 4.9243 | 33.293 | 2213.6 | 8.23 | 2218.4 | 8.23
2015 | 7 | 29 | 78.267 | 15.533 | 95 | 993 | 5.576 | 4.91 | 33.267 | 2214.5 | 8.233 | 2215.9 | 8.233
2015 | 7 | 29 | 78.267 | 15.533 | 95 | 993 | 10.075 | 4.4587 | 33.405 | 2229.2 | 8.239 | 2227.4 | 8.239
2015 | 7 | 29 | 78.267 | 15.533 | 95 | 993 | 15.093 | 4.1542 | 33.475 | 2233.5 | 8.246 | 2222 | 8.246
2015 | 7 | 29 | 78.267 | 15.533 | 95 | 993 | 25.065 | 3.5703 | 33.697 | 2248.8 | 8.219 | 2249.9 | 8.219
2015 | 7 | 29 | 78.267 | 15.533 | 95 | 993 | 50.112 | 1.6785 | 34.258 | 2272.1 | 8.202 | 2273.4 | 8.202
2015 | 7 | 29 | 78.267 | 15.533 | 95 | 993 | 60.179 | 1.9047 | 34.357 | 2276.7 | 8.172 | 2277.7 | 8.172
2015 | 7 | 29 | 78.267 | 15.533 | 95 | 993 | 82.728 | 2.4261 | 34.544 | 2287 | 8.128 | 2287 | 8.128
2015 | 8 | 29 | 78.257 | 15.523 | 72 | 993 | 63.353 | 1.0709 | 34.427 | 2280.9 | 8.175 | 2282.1 | 8.175
2015 | 8 | 29 | 78.257 | 15.523 | 72 | 993 | 52.029 | 1.8779 | 34.176 | 2266.2 | 8.198 | 2265 | 8.198
2015 | 8 | 29 | 78.257 | 15.523 | 72 | 993 | 27.425 | 4.0104 | 33.475 | 2225 | 8.203 | 2221.4 | 8.203
2015 | 8 | 29 | 78.257 | 15.523 | 72 | 993 | 12.107 | 5.0237 | 32.591 | 2149.7 | 8.202 | 2145.6 | 8.202
2015 | 8 | 29 | 78.257 | 15.523 | 72 | 993 | 2.007 | 6.0438 | 30.437 | 2063.1 | 8.14 | 2067.1 | 8.14
2015 | 9 | 15 | 78.267 | 15.533 | 95 | 993 | 2.15 | 4.265 | 31.36 | 2112.1 | 8.173 | 2113.1 | 8.173
2015 | 9 | 15 | 78.267 | 15.533 | 95 | 993 | 14.85 | 4.272 | 31.4 | 2120.5 | 8.17 | 2119.9 | 8.17
2015 | 9 | 15 | 78.267 | 15.533 | 95 | 993 | 25.25 | 3.922 | 32.06 | 2137.8 | 8.17 | 2136.8 | 8.17
2015 | 9 | 15 | 78.267 | 15.533 | 95 | 993 | 59.77 | 3.955 | 33.78 | 2253 | 8.18 | 2255.6 | 8.18
2015 | 9 | 15 | 78.267 | 15.533 | 95 | 993 | 90.19 | 3.173 | 34.67 | 2287 | 8.149 | 2292 | 8.149
2015 | 10 | 7 | 78.267 | 15.533 | 90 | 993 | 1.93 | 1.801 | 31.98 | 2143.9 | 8.204 | 2144.2 | 8.204
2015 | 10 | 7 | 78.267 | 15.533 | 90 | 993 | 14.9 | 3.593 | 33.17 | 2197.6 | 8.182 | 2197.6 | 8.182
2015 | 10 | 7 | 78.267 | 15.533 | 90 | 993 | 25.02 | 3.657 | 33.56 | 2227.7 | 8.189 | 2229.3 | 8.189
2015 | 10 | 7 | 78.267 | 15.533 | 90 | 993 | 59.97 | 4.1 | 34.46 | 2259.8 | 8.174 | 2266.2 | 8.174
2015 | 10 | 7 | 78.267 | 15.533 | 90 | 993 | 84.1 | 3.424 | 34.66 | 2269.8 | 8.16 | 2272.8 | 8.16
2015 | 10 | 27 | 78.267 | 15.533 | 94 | 993 | 85.427 | 3.7121 | 34.787 | 2294.4 | 8.084 | 2298.9 | 8.084
2015 | 10 | 27 | 78.267 | 15.533 | 94 | 993 | 60.995 | 4.0094 | 34.659 | 2290.8 | 8.111 | 2290.7 | 8.111
2015 | 10 | 27 | 78.267 | 15.533 | 94 | 993 | 25.658 | 3.9384 | 34.486 | 2274.7 | 8.139 | 2276.3 | 8.139
2015 | 10 | 27 | 78.267 | 15.533 | 94 | 993 | 14.362 | 3.2088 | 34.176 | 2260.8 | 8.161 | 2260.8 | 8.161
2015 | 10 | 27 | 78.267 | 15.533 | 94 | 993 | 2.622 | 2.7868 | 34.027 | 2253 | 8.169 | 2252.4 | 8.169
2015 | 11 | 23 | 78.267 | 15.533 | 93 | 993 | 84.983 | 3.7867 | 34.669 | 2288 | 8.1 | 2292.4 | 8.1
2015 | 11 | 23 | 78.267 | 15.533 | 93 | 993 | 60.179 | 3.3971 | 34.406 | 2275.2 | 8.116 | 2281 | 8.116
2015 | 11 | 23 | 78.267 | 15.533 | 93 | 993 | 50.048 | 2.0994 | 34.147 | 2263.7 | 8.133 | 2272.3 | 8.133
2015 | 11 | 23 | 78.267 | 15.533 | 93 | 993 | 25.203 | 0.6655 | 33.809 | 2236.9 | 8.137 | 2240.1 | 8.137
2015 | 11 | 23 | 78.267 | 15.533 | 93 | 993 | 15.146 | 0.6045 | 33.772 | 2238.4 | 8.14 | 2246.8 | 8.14
2015 | 11 | 23 | 78.267 | 15.533 | 93 | 993 | 10.202 | 0.6142 | 33.714 | 2236.7 | 8.139 | 2239.4 | 8.139
2015 | 11 | 23 | 78.267 | 15.533 | 93 | 993 | 4.761 | 0.5877 | 33.689 | 2237 | 8.144 | 2239.3 | 8.144
2015 | 11 | 23 | 78.267 | 15.533 | 93 | 993 | 1.437 | 0.5481 | 33.687 | 2237.3 | 8.143 | 2239.2 | 8.143
2015 | 12 | 2 | 78.267 | 15.533 | 95 | 993 | 89.874 | 4.3432 | 34.785 | 2304.2 | 8.094 | 2305.7 | 8.094
2015 | 12 | 2 | 78.267 | 15.533 | 95 | 993 | 59.258 | 2.9114 | 34.526 | 2279.4 | 8.11 | 2278.4 | 8.11
2015 | 12 | 2 | 78.267 | 15.533 | 95 | 993 | 24.271 | 2.3539 | 34.3 | 2271.9 | 8.117 | 2274.7 | 8.117
2015 | 12 | 2 | 78.267 | 15.533 | 95 | 993 | 15.082 | 2.1215 | 34.289 | 2268.8 | 8.118 | 2267.2 | 8.118
2015 | 12 | 2 | 78.267 | 15.533 | 95 | 993 | 2.104 | 2.1218 | 34.282 | 2269.6 | 8.12 | 2268.5 | 8.12
2015 | 12 | 9 | 78.267 | 15.533 | 96 | 993 | 90.519 | 3.2429 | 34.594 | 2287.6 | 8.092 | 2294.1 | 8.092
2015 | 12 | 9 | 78.267 | 15.533 | 96 | 993 | 59.057 | 1.4231 | 34.312 | 2283.9 | 8.12 | 2294.2 | 8.12
2015 | 12 | 9 | 78.267 | 15.533 | 96 | 993 | 51.118 | 1.3612 | 34.243 | 2286.2 | 8.121 | 2294.3 | 8.121
2015 | 12 | 9 | 78.267 | 15.533 | 96 | 993 | 24.186 | 1.3478 | 34.221 | 2282.8 | 8.117 | 2274.7 | 8.117
2015 | 12 | 9 | 78.267 | 15.533 | 96 | 993 | 14.871 | 1.3421 | 34.22 | 2266.9 | 8.114 | 2269.8 | 8.114
2015 | 12 | 9 | 78.267 | 15.533 | 96 | 993 | 11.801 | 1.3423 | 34.221 | 2265.6 | 8.11 | 2269.2 | 8.11
2015 | 12 | 9 | 78.267 | 15.533 | 96 | 993 | 4.073 | 1.3331 | 34.22 | 2260.3 | 8.109 | 2267 | 8.109
2015 | 12 | 9 | 78.267 | 15.533 | 96 | 993 | 1.744 | 1.3332 | 34.219 | 2261.7 | 8.112 | 2266.8 | 8.112
2016 | 1 | 29 | 78.267 | 15.533 | 97 | 993 | 88.233 | 2.7115 | 34.719 | 2293.8 | 8.076 | 2297.1 | 8.076
2016 | 1 | 29 | 78.267 | 15.533 | 97 | 993 | 57.353 | 1.699 | 34.616 | 2287.3 | 8.098 | 2291 | 8.098
2016 | 1 | 29 | 78.267 | 15.533 | 97 | 993 | 21.148 | 1.6902 | 34.585 | 2288.7 | 8.095 | 2291.7 | 8.095
2016 | 1 | 29 | 78.267 | 15.533 | 97 | 993 | 13.918 | 1.6935 | 34.581 | 2289.8 | 8.097 | 2295.4 | 8.097
2016 | 1 | 29 | 78.267 | 15.533 | 97 | 993 | 2.707 | 1.6848 | 34.581 | 2286 | 8.095 | 2289.3 | 8.095
2016 | 2 | 19 | 78.267 | 15.533 | 94 | 993 | 80 | 1.962 | 34.739 | 2298.1 | 8.09 | 2297.8 | 8.09
2016 | 2 | 19 | 78.267 | 15.533 | 94 | 993 | 50 | 2.0281 | 34.737 | 2295.2 | 8.089 | 2296.7 | 8.089
2016 | 2 | 19 | 78.267 | 15.533 | 94 | 993 | 25 | 2.017 | 34.736 | 2294.7 | 8.089 | 2297.5 | 8.089
2016 | 2 | 19 | 78.267 | 15.533 | 94 | 993 | 17 | 2.0135 | 34.736 | 2293.5 | 8.087 | 2293.9 | 8.087
2016 | 2 | 19 | 78.267 | 15.533 | 94 | 993 | 3 | 2.0182 | 34.736 | 2293.6 | 8.088 | 2294.8 | 8.088
2016 | 3 | 4 | 78.267 | 15.533 | 94 | 993 | 84 | 1.2057 | 34.744 | 2296.6 | 8.081 | 2300 | 8.081
2016 | 3 | 4 | 78.267 | 15.533 | 94 | 993 | 61 | 1.8426 | 34.781 | 2298.8 | 8.086 | 2300.7 | 8.086
2016 | 3 | 4 | 78.267 | 15.533 | 94 | 993 | 26 | 1.6188 | 34.725 | 2296.7 | 8.086 | 2298.7 | 8.086
2016 | 3 | 4 | 78.267 | 15.533 | 94 | 993 | 16 | 1.5795 | 34.723 | 2293.9 | 8.088 | 2301.6 | 8.088
2016 | 3 | 4 | 78.267 | 15.533 | 94 | 993 | 3 | 1.5217 | 34.717 | 2295.8 | 8.088 | 2300.4 | 8.088
2016 | 3 | 21 | 78.267 | 15.533 | 94 | 993 | 82 | 1.1875 | 34.795 | 2296.9 | 8.095 | 2295.8 | 8.095
2016 | 3 | 21 | 78.267 | 15.533 | 94 | 993 | 64 | 1.4846 | 34.81 | 2300.8 | 8.093 | 2300.8 | 8.093
2016 | 3 | 21 | 78.267 | 15.533 | 94 | 993 | 27 | 1.2491 | 34.777 | 2296 | 8.1 | 2292.8 | 8.1
2016 | 3 | 21 | 78.267 | 15.533 | 94 | 993 | 19 | 1.248 | 34.777 | 2297.5 | 8.101 | 2296.8 | 8.101
2016 | 3 | 21 | 78.267 | 15.533 | 94 | 993 | 4 | 1.1819 | 34.764 | 2294.1 | 8.101 | 2291.4 | 8.101
2016 | 3 | 29 | 78.267 | 15.533 | 95 | 993 | 73 | 1.0235 | 34.791 | 2300.4 | 8.095 | 2295.9 | 8.095
2016 | 3 | 29 | 78.267 | 15.533 | 95 | 993 | 59 | 1.137 | 34.795 | 2301.1 | 8.098 | 2300.2 | 8.098
2016 | 3 | 29 | 78.267 | 15.533 | 95 | 993 | 25 | 1.0616 | 34.773 | 2301.2 | 8.099 | 2300.1 | 8.099
2016 | 3 | 29 | 78.267 | 15.533 | 95 | 993 | 16 | 1.0508 | 34.775 | 2300.1 | 8.101 | 2298.5 | 8.101
2016 | 3 | 29 | 78.267 | 15.533 | 95 | 993 | 3 | 1.0505 | 34.775 | 2296.8 | 8.1 | 2294 | 8.1
2016 | 4 | 19 | 78.267 | 15.533 | 96 | 993 | 82 | 0.6636 | 34.812 | 2301.9 | 8.096 | 2300.9 | 8.096
2016 | 4 | 19 | 78.267 | 15.533 | 96 | 993 | 59 | 0.8622 | 34.825 | 2301.7 | 8.094 | 2299.5 | 8.094
2016 | 4 | 19 | 78.267 | 15.533 | 96 | 993 | 24 | 0.9861 | 34.828 | 2297.1 | 8.098 | 2295.2 | 8.098
2016 | 4 | 19 | 78.267 | 15.533 | 96 | 993 | 13 | 1.0717 | 34.832 | 2298.1 | 8.096 | 2297.6 | 8.096
2016 | 4 | 19 | 78.267 | 15.533 | 96 | 993 | 3 | 1.0839 | 34.832 | 2296.8 | 8.101 | 2291.5 | 8.101
2016 | 4 | 28 | 78.267 | 15.533 | 97 | 993 | 83.18 | 1.057 | 34.85 | 2300.1 | 8.094 | 2303 | 8.094
2016 | 4 | 28 | 78.267 | 15.533 | 97 | 993 | 60.12 | 1.069 | 34.85 | 2302 | 8.096 | 2302.6 | 8.096
2016 | 4 | 28 | 78.267 | 15.533 | 97 | 993 | 49.98 | 1.071 | 34.84 | 2299.3 | 8.098 | 2297.9 | 8.098
2016 | 4 | 28 | 78.267 | 15.533 | 97 | 993 | 24.7 | 1.089 | 34.84 | 2295.5 | 8.099 | 2293 | 8.099
2016 | 4 | 28 | 78.267 | 15.533 | 97 | 993 | 14.74 | 1.099 | 34.86 | 2303.7 | 8.101 | 2297.3 | 8.101
2016 | 4 | 28 | 78.267 | 15.533 | 97 | 993 | 10.15 | 1.106 | 34.85 | 2297.1 | 8.102 | 2293.3 | 8.102
2016 | 4 | 28 | 78.267 | 15.533 | 97 | 993 | 4.97 | 1.122 | 34.84 | 2299.3 | 8.1 | 2304.7 | 8.1
2016 | 4 | 28 | 78.267 | 15.533 | 97 | 993 | 2.15 | 1.17 | 34.85 | 2297 | 8.101 | 2296.9 | 8.101
2016 | 5 | 2 | 78.267 | 15.533 | 96 | 993 | 79 | 1.0899 | 34.83 | 2299.4 | 8.102 | 2303.9 | 8.102
2016 | 5 | 2 | 78.267 | 15.533 | 96 | 993 | 59 | 1.1484 | 34.821 | 2298.5 | 8.105 | 2298 | 8.105
2016 | 5 | 2 | 78.267 | 15.533 | 96 | 993 | 48 | 1.0773 | 34.809 | 2298 | 8.106 | 2302.7 | 8.107
2016 | 5 | 2 | 78.267 | 15.533 | 96 | 993 | 23 | 1.0692 | 34.808 | 2299.1 | 8.11 | 2303.4 | 8.11
2016 | 5 | 2 | 78.267 | 15.533 | 96 | 993 | 15 | 1.0785 | 34.808 | 2297.9 | 8.109 | 2300.9 | 8.109
2016 | 5 | 2 | 78.267 | 15.533 | 96 | 993 | 9 | 1.1175 | 34.809 | 2296.9 | 8.109 | 2297.2 | 8.109
2016 | 5 | 2 | 78.267 | 15.533 | 96 | 993 | 8 | 1.1192 | 34.809 | 2297.7 | 8.108 | 2303.8 | 8.108
2016 | 5 | 2 | 78.267 | 15.533 | 96 | 993 | 4 | 1.126 | 34.807 | 2296 | 8.11 | 2294.8 | 8.11
2016 | 5 | 13 | 78.267 | 15.533 | 94 | 993 | 80 | 0.9232 | 34.813 | 2303.2 | 8.094 | 2305.1 | 8.094
2016 | 5 | 13 | 78.267 | 15.533 | 94 | 993 | 48 | 1.2561 | 34.801 | 2306 | 8.145 | 2307.9 | 8.145
2016 | 5 | 13 | 78.267 | 15.533 | 94 | 993 | 23 | 0.8229 | 34.717 | 2304.6 | 8.218 | 2308.3 | 8.218
2016 | 5 | 13 | 78.267 | 15.533 | 94 | 993 | 8 | 1.0856 | 34.726 | 2302.5 | 8.226 | 2301.5 | 8.226
2016 | 5 | 13 | 78.267 | 15.533 | 94 | 993 | 2 | 1.1051 | 34.73 | 2307.4 | 8.226 | 2308.6 | 8.226
2016 | 6 | 1 | 78.267 | 15.533 | 94 | 993 | 86 | 1.1195 | 34.605 | 2292.9 | 8.227 | 2297.8 | 8.227
2016 | 6 | 1 | 78.267 | 15.533 | 94 | 993 | 60 | 1.1794 | 34.571 | 2290.8 | 8.246 | 2296.5 | 8.246
2016 | 6 | 1 | 78.267 | 15.533 | 94 | 993 | 25 | 1.5487 | 34.472 | 2288.9 | 8.276 | 2295.3 | 8.276
2016 | 6 | 1 | 78.267 | 15.533 | 94 | 993 | 15 | 1.8039 | 34.43 | 2286.3 | 8.271 | 2295.4 | 8.272
2016 | 6 | 1 | 78.267 | 15.533 | 94 | 993 | 3 | 2.0809 | 34.422 | 2285.7 | 8.268 | 2294.7 | 8.268
2016 | 6 | 20 | 78.267 | 15.533 | 95 | 993 | 82 | 1.7463 | 34.592 | 2297.7 | 8.196 | 2298.5 | 8.196
2016 | 6 | 20 | 78.267 | 15.533 | 95 | 993 | 60 | 2.079 | 34.55 | 2298.7 | 8.218 | 2308.3 | 8.218
2016 | 6 | 20 | 78.267 | 15.533 | 95 | 993 | 25 | 3.1109 | 34.338 | 2275.7 | 8.241 | 2278.5 | 8.241
2016 | 6 | 20 | 78.267 | 15.533 | 95 | 993 | 15 | 4.6712 | 34.065 | 2263.9 | 8.219 | 2266.1 | 8.219
2016 | 6 | 20 | 78.267 | 15.533 | 95 | 993 | 3 | 5.0163 | 33.309 | 2225.5 | 8.213 | 2228 | 8.213
2016 | 7 | 4 | 78.267 | 15.533 | 97.6 | 993 | 90 | 1.8361 | 34.697 | 2303.1 | 8.167 | 2302.6 | 8.167
2016 | 7 | 4 | 78.267 | 15.533 | 97.6 | 993 | 60 | 2.2667 | 34.643 | 2295.6 | 8.173 | 2301 | 8.173
2016 | 7 | 4 | 78.267 | 15.533 | 97.6 | 993 | 25 | 2.7923 | 34.565 | 2292.2 | 8.2 | 2290.8 | 8.2
2016 | 7 | 4 | 78.267 | 15.533 | 97.6 | 993 | 15 | 3.18 | 34.508 | 2291.7 | 8.224 | 2295.1 | 8.224
2016 | 7 | 4 | 78.267 | 15.533 | 97.6 | 993 | 2 | 3.8656 | 34.152 | 2261.8 | 8.22 | 2267.3 | 8.22
2016 | 8 | 1 | 78.267 | 15.533 | 92 | 993 | 85 | 2.9018 | 34.837 | 2309.5 | 8.11 | 2313.6 | 8.11
2016 | 8 | 1 | 78.267 | 15.533 | 92 | 993 | 60 | 2.4246 | 34.647 | 2304.6 | 8.15 | 2307.9 | 8.15
2016 | 8 | 1 | 78.267 | 15.533 | 92 | 993 | 25 | 3.7266 | 34.423 | 2292 | 8.167 | 2295.6 | 8.167
2016 | 8 | 1 | 78.267 | 15.533 | 92 | 993 | 15 | 4.2962 | 34.209 | 2283.7 | 8.175 | 2287.5 | 8.175
2016 | 8 | 1 | 78.267 | 15.533 | 92 | 993 | 2 | 8.6762 | 30.791 | 2083.7 | 8.149 | 2088.6 | 8.149
2016 | 9 | 13 | 78.263 | 15.5 | 80 | 993 | 68.965 | 5.028 | 34.774 | 2297.5 | 8.094 | 2300.3 | 8.094
2016 | 9 | 13 | 78.263 | 15.5 | 80 | 993 | 49.761 | 5.0163 | 34.74 | 2298.7 | 8.096 | 2302 | 8.096
2016 | 9 | 13 | 78.263 | 15.5 | 80 | 993 | 39.947 | 4.849 | 34.6 | 2294.2 | 8.105 | 2295.2 | 8.105
2016 | 9 | 13 | 78.263 | 15.5 | 80 | 993 | 25.388 | 5.1826 | 33.723 | 2254.3 | 8.147 | 2257.5 | 8.147
2016 | 9 | 13 | 78.263 | 15.5 | 80 | 993 | 15.286 | 5.2804 | 33.597 | 2243.8 | 8.161 | 2245.4 | 8.161
2016 | 9 | 13 | 78.263 | 15.5 | 80 | 993 | 10.155 | 5.22 | 33.43 | 2231.3 | 8.177 | 2233.5 | 8.177
2016 | 9 | 13 | 78.263 | 15.5 | 80 | 993 | 2.151 | 4.3083 | 32.871 | 2216.8 | 8.19 | 2215.6 | 8.19
2016 | 9 | 20 | 78.267 | 15.533 | 94 | 993 | 84 | 4.79 | 34.75 | 2276.8 | 8.123 | 2279.1 | 8.123
2016 | 9 | 20 | 78.267 | 15.533 | 94 | 993 | 60 | 5 | 34.03 | 2264.2 | 8.116 | 2264.6 | 8.116
2016 | 9 | 20 | 78.267 | 15.533 | 94 | 993 | 25 | 4.98 | 33.73 | 2249.4 | 8.135 | 2247.2 | 8.135
2016 | 9 | 20 | 78.267 | 15.533 | 94 | 993 | 15 | 5 | 33.68 | 2241.2 | 8.139 | 2239.9 | 8.139
2016 | 9 | 20 | 78.267 | 15.533 | 94 | 993 | 2 | 5.03 | 32.6 | 2189.2 | 8.146 | 2190 | 8.146
2016 | 10 | 11 | 78.267 | 15.533 | 100.3 | 993 | 89 | 3.8239 | 34.723 | 2303.4 | 8.101 | 2304.9 | 8.101
2016 | 10 | 11 | 78.267 | 15.533 | 100.3 | 993 | 60 | 4.6434 | 34.05 | 2259.6 | 8.121 | 2264 | 8.121
2016 | 10 | 11 | 78.267 | 15.533 | 100.3 | 993 | 25 | 4.3121 | 33.426 | 2239.1 | 8.123 | 2239.5 | 8.123
2016 | 10 | 11 | 78.267 | 15.533 | 100.3 | 993 | 15 | 4.1456 | 33.257 | 2225.3 | 8.124 | 2224.9 | 8.124
2016 | 10 | 11 | 78.267 | 15.533 | 100.3 | 993 | 2 | 3.8923 | 32.884 | 2198.4 | 8.123 | 2195 | 8.123
2016 | 11 | 1 | 78.267 | 15.533 | 94 | 993 | 85 | 5.3573 | 34.739 | 2294.9 | 8.082 | 2293.6 | 8.082
2016 | 11 | 1 | 78.267 | 15.533 | 94 | 993 | 60 | 4.7628 | 34.24 | 2273.1 | 8.089 | 2270.5 | 8.089
2016 | 11 | 1 | 78.267 | 15.533 | 94 | 993 | 25 | 4.3953 | 33.998 | 2262.5 | 8.088 | 2263.7 | 8.088
2016 | 11 | 1 | 78.267 | 15.533 | 94 | 993 | 15 | 4.1349 | 33.836 | 2262.4 | 8.096 | 2258.3 | 8.096
2016 | 11 | 1 | 78.267 | 15.533 | 94 | 993 | 2 | 3.9567 | 33.739 | 2250.8 | 8.099 | 2249.5 | 8.099
2016 | 12 | 16 | 78.267 | 15.533 | 94 | 993 | 87 | 4.5569 | 34.919 | 2308.5 | 8.072 | 2313.4 | 8.072
2016 | 12 | 16 | 78.267 | 15.533 | 94 | 993 | 60 | 4.9048 | 34.881 | 2307.1 | 8.063 | 2308.4 | 8.063
2016 | 12 | 16 | 78.267 | 15.533 | 94 | 993 | 25 | 3.2571 | 34.571 | 2291.5 | 8.096 | 2297 | 8.096
2016 | 12 | 16 | 78.267 | 15.533 | 94 | 993 | 15 | 3.5682 | 34.546 | 2288.8 | 8.095 | 2298.2 | 8.095
2016 | 12 | 16 | 78.267 | 15.533 | 94 | 993 | 2 | 3.7619 | 34.562 | 2293.3 | 8.091 | 2300.3 | 8.091
2017 | 2 | 24 | 78.267 | 15.533 | 84 | 993 | 75.14 | 1.153 | 34.82 | 2302.7 | 8.088 | 2301.1 | 8.088
2017 | 2 | 24 | 78.267 | 15.533 | 84 | 993 | 49.89 | 1.211 | 34.83 | 2305 | 8.089 | 2306.6 | 8.089
2017 | 2 | 24 | 78.267 | 15.533 | 84 | 993 | 25.08 | 1.241 | 34.82 | 2304 | 8.085 | 2306.8 | 8.086
2017 | 2 | 24 | 78.267 | 15.533 | 84 | 993 | 15.21 | 1.24 | 34.82 | 2301.9 | 8.091 | 2303.6 | 8.091
2017 | 2 | 24 | 78.267 | 15.533 | 84 | 993 | 2 | 1.212 | 34.82 | 2302.1 | 8.096 | 2306.7 | 8.096
2017 | 3 | 21 | 78.267 | 15.533 | 80 | 993 | 65.13 | 0.876 | 34.88 | 2312.4 | 8.092 | 2314.8 | 8.092
2017 | 3 | 21 | 78.267 | 15.533 | 80 | 993 | 49.93 | 0.922 | 34.9 | 2309.1 | 8.097 | 2315.4 | 8.097
2017 | 3 | 21 | 78.267 | 15.533 | 80 | 993 | 24.98 | 0.944 | 34.9 | 2311.5 | 8.099 | 2316.3 | 8.099
2017 | 3 | 21 | 78.267 | 15.533 | 80 | 993 | 15.01 | 0.928 | 34.89 | 2310.1 | 8.1 | 2312.4 | 8.1
2017 | 3 | 21 | 78.267 | 15.533 | 80 | 993 | 1.97 | 0.904 | 34.84 | 2310.8 | 8.101 | 2315.6 | 8.101
2017 | 4 | 3 | 78.267 | 15.533 | 84 | 993 | 71.08 | 0.398 | 34.9 | 2303.9 | 8.102 | 2308.6 | 8.102
2017 | 4 | 3 | 78.267 | 15.533 | 84 | 993 | 50.18 | 0.407 | 34.9 | 2307.2 | 8.102 | 2311.8 | 8.102
2017 | 4 | 3 | 78.267 | 15.533 | 84 | 993 | 25.08 | 0.407 | 34.88 | 2309.1 | 8.104 | 2310.8 | 8.104
2017 | 4 | 3 | 78.267 | 15.533 | 84 | 993 | 15.07 | 0.398 | 34.91 | 2308 | 8.104 | 2310.8 | 8.104
2017 | 4 | 3 | 78.267 | 15.533 | 84 | 993 | 2.03 | 0.389 | 34.86 | 2317.9 | 8.119 | 2318.2 | 8.119
2017 | 5 | 4 | 78.267 | 15.533 | 93 | 993 | 83 | 0.1315 | 34.547 | 2279.1 | 8.272 | 2282.4 | 8.272
2017 | 5 | 4 | 78.267 | 15.533 | 93 | 993 | 50 | 0.1199 | 34.476 | 2288.8 | 8.283 | 2294.1 | 8.283
2017 | 5 | 4 | 78.267 | 15.533 | 93 | 993 | 25 | 0.023 | 34.405 | 2282 | 8.301 | 2289.3 | 8.301
2017 | 5 | 4 | 78.267 | 15.533 | 93 | 993 | 10 | 0.0207 | 34.385 | 2281.2 | 8.312 | 2286.7 | 8.312
2017 | 5 | 4 | 78.267 | 15.533 | 93 | 993 | 2 | 0.032 | 34.383 | 2279.2 | 8.309 | 2284.9 | 8.309
2017 | 6 | 9 | 78.267 | 15.533 | 93 | 993 | 81 | 1.1139 | 34.607 | 2295.1 | 8.221 | 2294.6 | 8.221
2017 | 6 | 9 | 78.267 | 15.533 | 93 | 993 | 60 | 0.9691 | 34.556 | 2291.6 | 8.26 | 2292.1 | 8.26
2017 | 6 | 9 | 78.267 | 15.533 | 93 | 993 | 25 | 1.3317 | 34.518 | 2289.2 | 8.269 | 2289.3 | 8.269
2017 | 6 | 9 | 78.267 | 15.533 | 93 | 993 | 15 | 1.8034 | 34.418 | 2286 | 8.268 | 2283.9 | 8.268
2017 | 6 | 9 | 78.267 | 15.533 | 93 | 993 | 2 | 4.5399 | 33.75 | 2245.5 | 8.238 | 2247.4 | 8.238
2017 | 6 | 23 | 78.267 | 15.533 | 94 | 993 | 85 | 1.411 | 34.65 | 2295.9 | 8.181 | 2296.4 | 8.181
2017 | 6 | 23 | 78.267 | 15.533 | 94 | 993 | 60 | 1.3153 | 34.52 | 2288.3 | 8.239 | 2287.2 | 8.239
2017 | 6 | 23 | 78.267 | 15.533 | 94 | 993 | 25 | 2.3484 | 34.442 | 2285.5 | 8.248 | 2282.6 | 8.248
2017 | 6 | 23 | 78.267 | 15.533 | 94 | 993 | 15 | 3.8346 | 34.318 | 2272.9 | 8.244 | 2271.1 | 8.244
2017 | 6 | 23 | 78.267 | 15.533 | 94 | 993 | 2 | 5.499 | 32.349 | 2088.4 | 8.235 | 2088.6 | 8.235
2017 | 7 | 20 | 78.267 | 15.533 | 95.8 | 993 | 86 | 1.6706 | 34.541 | 2291.3 | 8.214 | 2289.9 | 8.214
2017 | 7 | 20 | 78.267 | 15.533 | 95.8 | 993 | 60 | 2.4514 | 34.467 | 2288.6 | 8.208 | 2289.5 | 8.208
2017 | 7 | 20 | 78.267 | 15.533 | 95.8 | 993 | 25 | 4.9895 | 34.004 | 2263.3 | 8.236 | 2265.5 | 8.236
2017 | 7 | 20 | 78.267 | 15.533 | 95.8 | 993 | 15 | 5.8147 | 33.624 | 2236.5 | 8.236 | 2233.7 | 8.236
2017 | 7 | 20 | 78.267 | 15.533 | 95.8 | 993 | 2 | 5.9178 | 33.286 | 2208.9 | 8.242 | 2209 | 8.242
2017 | 8 | 1 | 78.267 | 15.533 | 93 | 993 | 84 | 1.3002 | 34.578 | 2296.3 | 8.194 | 2297.1 | 8.194
2017 | 8 | 1 | 78.267 | 15.533 | 93 | 993 | 60 | 2.1478 | 34.497 | 2289.6 | 8.204 | 2285 | 8.204
2017 | 8 | 1 | 78.267 | 15.533 | 93 | 993 | 25 | 5.1938 | 33.856 | 2255.6 | 8.211 | 2253.8 | 8.211
2017 | 8 | 1 | 78.267 | 15.533 | 93 | 993 | 15 | 7.3036 | 32.754 | 2193.2 | 8.184 | 2193.5 | 8.184
2017 | 8 | 1 | 78.267 | 15.533 | 93 | 993 | 2 | 8.4368 | 30.65 | 2134.6 | 8.164 | 2132.8 | 8.164
2017 | 8 | 31 | 78.267 | 15.533 | 95.8 | 993 | 88 | 4.5662 | 34.94 | 2305 | 8.078 | 2306.5 | 8.078
2017 | 8 | 31 | 78.267 | 15.533 | 95.8 | 993 | 60 | 4.7932 | 34.853 | 2301.2 | 8.108 | 2296.4 | 8.108
2017 | 8 | 31 | 78.267 | 15.533 | 95.8 | 993 | 25 | 5.2957 | 34.684 | 2295.3 | 8.154 | 2289.8 | 8.154
2017 | 8 | 31 | 78.267 | 15.533 | 95.8 | 993 | 15 | 5.4184 | 34.513 | 2291.2 | 8.176 | 2287.2 | 8.176
2017 | 8 | 31 | 78.267 | 15.533 | 95.8 | 993 | 2 | 5.9166 | 33.844 | 2263.2 | 8.181 | 2262.6 | 8.181
2017 | 10 | 2 | 78.257 | 15.527 | 73 | 993 | 61.469 | 5.1278 | 34.563 | 2287 | 8.134 | 2293.3 | 8.134
2017 | 10 | 2 | 78.257 | 15.527 | 73 | 993 | 49.96 | 5.0736 | 34.426 | 2285.4 | 8.137 | 2289.9 | 8.137
2017 | 10 | 2 | 78.257 | 15.527 | 73 | 993 | 25.103 | 5.1579 | 33.785 | 2258 | 8.142 | 2261 | 8.142
2017 | 10 | 2 | 78.257 | 15.527 | 73 | 993 | 15.078 | 5.0047 | 33.321 | 2235.9 | 8.144 | 2234.5 | 8.144
2017 | 10 | 2 | 78.257 | 15.527 | 73 | 993 | 10.012 | 4.9498 | 33.166 | 2222.5 | 8.15 | 2223.5 | 8.15
2017 | 10 | 2 | 78.257 | 15.527 | 73 | 993 | 4.925 | 4.8284 | 32.837 | 2201.4 | 8.142 | 2207.4 | 8.142
2017 | 10 | 2 | 78.257 | 15.527 | 73 | 993 | 2.102 | 4.4995 | 32.443 | 2184.3 | 8.152 | 2186.2 | 8.152
2017 | 11 | 7 | 78.267 | 15.533 | 93 | 993 | 80 | 5.6 | 34.773 | 2299.6 | 8.096 | 2300.6 | 8.096
2017 | 11 | 7 | 78.267 | 15.533 | 93 | 993 | 60 | 5.5 | 34.616 | 2290.4 | 8.098 | 2289.8 | 8.098
2017 | 11 | 7 | 78.267 | 15.533 | 93 | 993 | 25 | 3.9 | 34.27 | 2274.4 | 8.126 | 2276.2 | 8.126
2017 | 11 | 7 | 78.267 | 15.533 | 93 | 993 | 15 | 3.7 | 34.118 | 2267.5 | 8.122 | 2271.9 | 8.122
2017 | 11 | 7 | 78.267 | 15.533 | 93 | 993 | 2 | 3.6 | 34.021 | 2260.7 | 8.121 | 2261.9 | 8.121